## Industrial automation
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
INDUSTRIAL AUTOMATION LAB
Sr | Item Code | Item Description | UOM | Accession No | Quantity | Physical Condition | Working Condition | REMARK
1 | 3887 | PLC SUPPLY, INPUT, OUTPUT WIRING SCHEME DEVELOPMENT AND TESTING | SET | CSMSS / ENGG /EE/ IA /PLC/2016/00203/3887 | 1
2 | 3888 | PUMPING CONTROL FOR OVERHEAD WATER TANK | SET | CSMSS / ENGG /EE/ IA /PC-OWT/2016/00203/3888 | 1
3 | 3889 | SPEED MEASUREMENT OF MOTOR | SET | CSMSS / ENGG /EE/ IA /SMM/2016/00203/3889 | 1
4 | 3890 | DOL- STARTER L & T MAKE ( RELAY RANGE 13-21 AMP ) | NOS | CSMSS / ENGG /EE/ IA /STAR-DELTA /2016/00203/3890 | 1
5 | 3891 | MEASUREMENT OF VOLTAGE CURRENT POWER FACTOR, POWER AND ENERGY | NOS | CSMSS / ENGG /EE/ IA /PLC/2016/00203/3891 | 1
6 | 3892 | STTEPER MOTOR CONTROL THROUGH PLC FOR MOTION CONTROL (HIGH- SPEED | SET | CSMSS / ENGG /EE/ IA /SMC/2016/00203/3892 | 1
7 | 3893 | ALARM ANNUNCIATIONS USING SCADA SCADA SYSTEM | NOS | CSMSS / ENGG /EE/ IA /AASS/ 2016/00203/3893 | 1
8 | 3894 | BASIC SENSOR ACTUATOR MODEL | SET | CSMSS / ENGG /EE/ IA /BSA/2016/00203/3894 | 1
9 | 160 | DIGITAL MULTIMETER | NOS | CSMSS/ENGG/17/EE/AT/01/02/03/160 | 3 |  |  | SHIFT FORM F.E.
10 | 241 | AC VOLTMETER (0-600V) | NOS | CSMSS/ENGG/13/EE/Vac-01/02 | 2 |  |  | SHIFT FORM F.E.
11 | 242 | DC VOLTMETER (0-600V) | NOS | CSMSS/ENGG/13/EE/Vdc-01/02 | 2 |  |  | SHIFT FORM F.E.
12 | 245 | AC AMMETER (0-10A) | NOS | CSMSS/ENGG/13/EE/Aac-01/02 | 2 |  |  | SHIFT FORM F.E.
13 | 247 | DC AMMETER(0-10A) | NOS | CSMSS/ENGG/13/EE/Adc-01/02 | 2 |  |  | SHIFT FORM F.E.
14 | 4677 | AUTOTRANSFORMER / VARIAC ME MAKE | NOS | CSMSS/ENGG/17/EE/AT/01/4677 | 1 |  |  | SHIFT FORM F.E.
15 | 4678 | PORTABLE ANALOG WATTMETERS UPF TYPE MAKE ME | NOS | CSMSS/ENGG/17/EE/WM/01/02/4678 | 2 |  |  | SHIFT FORM F.E.
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  | Prof.SAMIR KHALSE | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Electrical Machine Lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
( MACHINE LAB )
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 1429 | THREE PHASE SYCHRONOUS MOTOR # D.C.SHUNT GENERATOR | SET |  | 1
2 | 1430 | THREE PHASE SLIP- RING INDUCTION MOTOR # D.C. SHUNT GENERATOR | SET |  | 1
3 | 1431 | THREE PHASE ALTERNATOR SETS FOR SYNCHRONISATION PURPOSE | SET |  | 2
4 | 1432 | THREE PHASE INDUCTION MOTOR # D.C. SHUNT GENERATOR | SET |  | 1
5 | 1433 | THREE PHASE- SYNCHRONOUS ALTERNATOR # D.C. SHUNT MOTOR | SET |  | 1
6 | 1434 | SINGLE PHASE CAPACITIVE LOAD BANK 5A | NOS |  | 1
7 | 1435 | THREE PHASE CAPACITIVE LOAD BANK 10A | NOS |  | 1
8 | 1436 | THREE PHASE INDUCTIVE LOAD BANK 10A | NOS |  | 1
9 | 1437 | SINGLE PHASE CAPACITIVE LOAD BANK 10A | NOS |  | 1
10 | 1438 | SINGLE PHASE LAMP LOAD 10 A BENN MAKE | NOS |  | 1
11 | 1439 | THREE PHASE LOAD 415 V 10 A | NOS |  | 1
12 | 1440 | SINGLE PHASE TWO WINDING TRANSFORMERS | NOS |  | 3
13 | 1441 | SINGLE PHASE AUTO TRANSFORMER | NOS |  | 2
14 | 1442 | THREE PHASE TWO WINDING TRANSFORMER | NOS |  | 2
15 | 1443 | THREE PHASE AUTO TRANSFORMER | NOS |  | 2
16 | 1463 | D.C.SHUNT MOTOR # D.C.SHUNT GENERATOR | NOS |  | 1
17 | 1464 | D.C.SERIES MOTOR # D.C.SHUNT GENERATOR | NOS |  | 1
18 | 1465 | D.C.SHUNT MOTOR # D.C.COMPOUND GENERATOR | SET |  | 1
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
19 | 1468 | RECTIFIER UNIT D.C.230V 50A | NOS |  | 1
20 | 1531 | THREE PHASE SQUIRREL CAGE INDUCTION MOTOR WITH LOAD ARRANGEMENT | SET |  | 1
21 | 1532 | CAPACITIVE STARTS SINGLE- PHASE INDUCTION MOTOR | SET |  | 1
22 | 1533 | D.C. MOTOR BENN MAKE WITH MECHANICAL LOADING ARRANGEMENT | SET |  | 1
23 | 2197 | RHEOSTATS.. 570 OHM /1.2 AMPS | NOS |  | 1
24 | 2196 | RHEOSTATE 290 OHM/2.8 AMPS | NOS |  | 4
25 | 2195 | RHEOSTATE 150 OHM /5 AMPS | NOS |  | 4
26 | 2202 | ANALOG D.C. AMMETERS ( 0-2A ) | NOS |  | 2
27 | 2203 | ANALOG A.C. AMMETERS ( ( 0-2A ) | NOS |  | 6
28 | 2201 | ANALOG D.C. AMMETERS ( 0-20 A ) | NOS |  | 4
29 | 2204 | D.C. VOLTMETER , ( 0-300 ) VOLTS | NOS |  | 2
30 | 2205 | A.C. VOLTMETER- ( 0-230 ) VOLTS | NOS |  | 2
31 | 2206 | A.C. VOLTMETER- ( 0-230 ) VOLTS | NOS |  | 2
32 | 2193 | TACHOMETER DIGITAL CONTECT TYPE | NOS |  | 2
33 | 2194 | TACHOMETER DIGITALNON- CONAECT TYPE | NOS |  | 1
34 | 2198 | RHEOSTATS... 400 W / 1 A | NOS |  | 2
35 | 2200 | RHEOSTATS..... 40 W / 5 A | NOS |  | 1
36 | 2345 | RHEOSTAS 290 / 2.8 A | NOS |  | 1
37 | 2348 | PROTABLE WATTMETERS 230V/440V,5 AMP TO 10 AMP, | NOS |  | 1
38 | 2879 | PORTABLE WATTMETER ( UPF- TYPE ) 230V/440V,5 AMP 10 10 AMP, | NOS |  | 4
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
39 | 3902 | WATTMETER ( 0-300V ), 10 AMP, | NOS |  | 1
40 | 3903 | A.C AMMETER, ( 0-10 ) AMPS | NOS |  | 2
41 | 3904 | A.C. VOLTMETER , ( 0-300 ) VOLTS | NOS |  | 5
42 | 3905 | 1- PHASE- VARIAC ( 0-230 V | NOS |  | 2
43 | 3906 | 1- PHASE- DPST- SWITCH | NOS |  | 1
44 | 3907 | POWER FACTOR METER ( 0- 600 V ), 10 A | NOS |  | 2
45 | 3908 | RHEOSTATE 470 OHM, 1.2 A | NOS |  | 2
46 | 3909 | ANALOG D.C. AMMETER- (0-2 A) | NOS |  | 2
47 | 3910 | ANALOG D.C. AMMETER- (0-10 A) | NOS |  | 4
48 | 3911 | D.C. VOLTMETER - (0-270 V ) | NOS |  | 2
49 | 3912 | WATTMETER- (0-600 V) , 10 A DOUBLE- ELEMENT | NOS |  | 4
50 | 3914 | RHEOSTATE 250 OHM, 1. 5 A | NOS |  | 2
51 | 3915 | RHEOSTATE 1200 OHM, 0.5 A | NOS |  | 1
52 | 3916 | RHEOSTATE 470 OHM, 1. 2 A | NOS |  | 1
53 | 3917 | 3- PHASE- TPST SWITCH | NOS |  | 2
54 | 3919 | A.C. VOLTMETER- (0- 440 ) V, ( 0-10 ) | NOS |  | 6
55 | 3920 | A.C. AMMETER, ( 0-20 ) AMPS | NOS |  | 4
56 | 3921 | RHEOSTATE 50 OHM, 5 A | NOS |  | 3
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Microcontroller Lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Microcontroller Lab
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 |  | Digital Multi Meter |  | 160 | 1
2 |  | DC Regulated Power Supply (0-30)/2AMP (DUAL) |  | CSMSS/ENGG/13/EE/DPS-01/355 | 2
CSMSS/ENGG/13/EE/DPS-02/355
3 |  | Function Generator (10MHZ DUAL TRACE) |  | CSMSS/ENGG/13/EE/PG-01/412 | 1
4 |  | Two Channel Oscilloscope |  | CSMSS/ENGG/13/EE/CRO-01/410 | 1
5 |  | M85-04 8085 Microprocessor LCD Trainer KIT |  | CSMSS/ENG/ECT/MPP/Micro.8085/2015/2231/01 | 2
CSMSS/ENG/ECT/MPP/Micro.8085/2015/2231/03
6 |  | IC 16 LED Matrix Display |  | CSMSS/ENG/ECT/MPP/2015/02857/5 | 1
7 |  | IC 26 AD/DA Interfacing Module |  | CSMSS/ENGG/ECT/MPP/AD-DA/2015/2232/02 | 1
8 |  | Multiplexer & De Multiplexer KIT |  | CSMSS/ENGG/ECT/DCD/MUX/1519/03 | 1
9 |  | ALU IC 74181 |  | CSMSS/ENGG/ECT/dcd/alu/1517/03 | 1
10 |  | OP-AMP Integrator & Instrumentation AMP. |  | CSMSS/ENGG/ECT/AIC&A/PO-AMP INTEG/15/2868/03 | 1
11 |  | Square Wave Generator using OP-AMP |  | CSMM/ENGG/ECT/AIC&A/SQR.WAVE GEN/15/2871/03 | 1
12 |  | OP-AMP Comparator & Schmitt Trigger |  | CSMM/ENGG/ECT/AIC&A/OP-AMP- APP./15/2869/02 | 1
13 |  | OP-AMP Parameter Measurement |  | CSMSS/ENGG/ECT/AIC&A/PO-AMP PAR/15/2867/02 | 2
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Electrical Drives
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Electrical Drives
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 3883 | SPEED CONTROL OF D.C. MOTOR USING D.C. CHOPPER- KIT | SET |  | 1
2 | 3884 | SPEED CONTROL OF D.C. MOTOR USING SINGLE - PHASE CONVERTER- KIT | SET |  | 1
3 | 3885 | SPEED CONTROL OF D.C. MOTOR USING THREE PHASE CONVERTER- PANEL | SET |  | 1
4 | 3886 | SPEED CONTROL OF SINGLE PHASE INDUCTION MOTOR, USING A.C. REGULATOR | SET |  | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Power Electronics
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Power Electronics
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 3272 | 1 PHASE & 3 PHASE CONVERTOR KIT | NOS |  | 1
2 | 3273 | KIT OF PWM INVERTER | SET |  | 1
3 | 3368 | BEL-PET POWER ELECTRONICS TRAINER | NOS |  | 3
4 | 3369 | BEL-COT DISCRETE COMPONENT TRAINER | NOS |  | 2
5 | 3258 | Study Of Chopper KIT | NOS |  | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Ele Engg Material (EEM)
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Electrical Engineering Material ( EEM)
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 1483 | TRANSFORMER OIL TEST KIT
2 | 1484 | THEMOCOUPLES KIT
3 | 1939 | GAUSS METER SET UP
4 | 1940 | SCHERING BRIDGE
5 | 1941 | BH CURVE KIT
6 | 1942 | SOLAR CELL KIT
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Renewable Energy Lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Renewable Energy Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 4354 | INVERTER BOX-1 | Set |  | 1
2 | 4354 | INVERTER BOX-2 | Set |  | 1
3 | 4354 | DISTRIBUTION BOX PANEL | Set |  | 1
4 | 4354 | SOLAR PANEL | Set |  | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Power system lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Power System Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 1534 | WOODEN MODEL OF HYDROELECTRIC POWER PLANT
2 | 1535 | WOODEN MODEL OF THERMAL POWER PLANT
3 | 1536 | WOODEN MODEL OF NUCLEAR POWER PLANT
4 | 1537 | WOODEN MODEL OF MSEB SUBSTATION
5 | 2395 | TRANSMISSION LINE TRAINING SYSTEM
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Switchgear and protection lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Switchgear and Protection Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 3898 | DIFFERENTIAL PROTECTIONS OF TRANSFORMER PANEL PANEL- SHOULD BE APPLICABLE FOR
2 | 3899 | DIFFERENTIAL PROTECTIONS OF. ALTERNATOR PANEL PANEL SHOULD BE APPLICABLE
3 | 3900 | GROUND FAULT PROTECTION OF THREE PHASE- INDUCTION MOTOR- KIT
4 | 3896 | CHARACTERISTICS OF OVER CURRENT RELAY KIT-
5 | 3901 | STUDY OF AIR- CIRCIUT- BREAKER- KIT AS PER KIT RATING
6 | 3895 | STUDY AND USE OF RELAY TESTING KIT COMBINED, AS PER KIT RATING
7 | 3897 | STUDY AND APPLICATIONS OF DIRECTIONAL RELAY- KIT
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Electrical Measurment lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Electrical Measurment Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 1469 | Three phase loading rheostat(415V,10amp) |  | CSMSS/ENGG/EE/Emeas.L/TPLR/2014/00223/01469 | 1
2 | 1470 | Single phase wattmeter Ac |  | CSMSS/ENGG/EE/Emeas.L/spwac/2014/00223/01470 | 1
3 | 1471 | single phase energymeter |  | CSMSS/ENGG/EE/Emeas.L/Spem/2014/00223/01471 | 1
4 | 1472 | Three phase energy meter |  | CSMSS/ENGG/EE/Emeas.L/TPem2014/00223/01472 | 1
5 | 1473 | Kelvin double bridge |  | CSMSS/ENGG/EE/Emeas.L/KDB/2014/00223/01473 | 1
6 | 1474 | Anderson Bridge |  | CSMSS/ENGG/EE/Emeas.L/CT/2014/00223/01474 | 1
7 | 1476 | Curtrent Transformer |  | CSMSS/ENGG/EE/Emeas.L/PT/2014/00223/01476 | 1
8 | 1477 | Potential Transformer |  | CSMSS/ENGG/EE/Emeas.L/TPLR/2014/00223/01469 | 1
9 | 1478 | Three phase wattmeter |  | CSMSS/ENGG/EE/Emeas.L/3PWAC/2014/00223/01478 | 1
10 | 1441 | Single phase autotransformer bank(230v,5A) |  | CSMSS/ENGG/EE/Emeas.L/SPAB/2014/0021/01441 | 2
11 | 1936 | Portable Wattmeter |  | CSMSS/ENGG/EE/Emeas.L/PW/2014/00225/01936 | 1
12 | 1937 | Knife Switch mounted on wooden board(spdt) |  | CSMSS/ENGG/EE/Emeas.L/KSMWB/2014/00225/01937 | 1
13 | 1938 | Knife switch mounted on switch bourd(dpdt) |  | CSMSS/ENGG/EE/Emeas.L/KSMWB/2014/00225/01938 | 1
14 | 2207 | Digital Multimeter |  | CSMSS/ENGG/EE/Emeas.L/DM/2014/00269/02207 | 1
15 | 2209 | Digital LCR merter |  | CSMSS/ENGG/EE/Emeas.L/DLCRM/2014/00269/02209 | 1
16 | 2208 | Tool Kit |  | CSMSS/ENGG/EE/Emeas.L/TK/2014/00269/02208 | 1
17 | 2346 | Rheostat |  | CSMSS/ENGG/EE/Emeas.L/RH/2014/0333/2346 | 2
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
18 | 2347 | Three phase wattmeter |  | CSMSS/ENGG/EE/Emeas.L/3 PWAC/2014/0333/2347 | 1
19 | 1482A | Megger |  | CSMSS/ENGG/EE/Emeas.L//2014/ET/00223/01482A | 1
20 | 1482B | Earth tester |  | CSMSS/ENGG/EE/Emeas.L//2014/ET/00223/01482B | 1
21 | 3903 | Ammeter(0-10) |  | CSMSS/ENGG/EE/Emeas.L/AM/AC/2017/00193/03903/1&2&3&4 | 4
22 | 3912 | Wattmeter(0-300-600),(0-5-10A) |  | CSMSS/ENGG/EE/Emeas.L/SPWAC/AC/2017/00193/03192/1&2 | 2
23 | 3913 | Voltmeter(0-300-600)V |  | CSMSS/ENGG/EE/Emeas.L/VM/AC/2017/00193/03913/1/2 | 2
24 | 3906 | DPST |  | CSMSS/ENGG/EE/Emeas.L/00193/03906 | 1
25 | 3918 | Autotransformer 3ph |  | CSMSS/ENGG/EE/Emeas.L/3PHAUTO/2017/00193/03918 | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Network analysis lab
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Network Analysis Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 |  | SUPERPOSITION THEOREM KIT |  | CSMSS/ENGG/13/EE/SPT-01 | 5
2 |  |  |  | CSMSS/ENGG/13/EE/SPT-02
3 |  |  |  | CSMSS/ENGG/13/EE/SPT-03
4 |  |  |  | CSMSS/ENGG/13/EE/SPT-04
5 |  |  |  | CSMSS/ENGG/13/EE/SPT-05
6 |  | STUDY OF MAXIMUM TRANSFER THEOREM KIT |  | CSMSS/ENGG/13/EE/MPTT-01 | 5
7 |  |  |  | CSMSS/ENGG/13/EE/MPTT-02
8 |  |  |  | CSMSS/ENGG/13/EE/MPTT-03
9 |  |  |  | CSMSS/ENGG/13/EE/MPTT-04
10 |  |  |  | CSMSS/ENGG/13/EE/MPTT-05
11 |  | LCR RESONANCE KIT |  | CSMSS/ENGG/13/EE/LCR-01 | 5
12 |  |  |  | CSMSS/ENGG/13/EE/LCR-02
13 |  |  |  | CSMSS/ENGG/13/EE/LCR-03
14 |  |  |  | CSMSS/ENGG/13/EE/LCR-04
15 |  |  |  | CSMSS/ENGG/13/EE/LCR-05
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
16 |  | THEVENINS THEOREM KIT |  | CSMSS/ENGG/13/EE/LCR-01 | 5
17 |  |  |  | CSMSS/ENGG/13/EE/LCR-02
18 |  |  |  | CSMSS/ENGG/13/EE/LCR-03
19 |  |  |  | CSMSS/ENGG/13/EE/LCR-04
20 |  |  |  | CSMSS/ENGG/13/EE/LCR-05
21 | 274 | MEASUREMENT OF REGULATION & EFFICIENCY OF 1-PHASE TRANSFORMER SET (1KVA) |  |  | 1
22 | 275 | TRANSFORMERS TURN RATIO VERIFICATION SET |  |  | 1
23 | 276 | INCANDESCENT BULB LOAD BANK (1KVA) |  |  | 1
24 | 251 | 1-PHASE ENERGY METER |  |  | 2
25 | 254 | RANSFORMER (230/12V,50VA) |  |  | 3
26 | 160 | DIGITAL MULTIMETER |  |  | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## Testing and Maintenance
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Testing and Maintenance of Electrical Equipments (TMEE)
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 | 3275 | TRANSFORMER SINGLE PHASE-2 KVA |  | CSMSS/ENGG/EE/TME/TRAN/2015/00361/03275 | 1
2 | 3276 | DIGITAL EARTH TESTER |  | CSMSS/ENGG/EE/TME/D.E.T/2015/00361/03276 | 1
3 | 3277 | MOTORISED COIL WINDING MACHINE |  | CSMSS/ENGG/EE/TME/M.C.W.M/2015/00361/03277 | 1
4 | 3278 | HAND OPERATED COIL WINDING MACHINE |  | CSMSS/ENGG/EE/TME/M.C.W.M/2015/00361/03278 | 2
5 | 3279 | DC MOTOR -2 HP FOR WINDING MACHINE |  | CSMSS/ENGG/EE/TME/M.C.W.M/2015/00361/03279 | 1
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## CONTROL System
C.S.M.S.S
Chh. Shahu College of Engineering
Department of Electrical Engineeirng
Control System Laboratory
Sr | Item Code | Item Description | UOM | Accession Number | Quantity | Physical Condition | Working Condition | REMARK
1 |  | PID- Controller (Analog-Digital) |  | csmss/Engg./EE/CSE/P.I.D./2015/00249/02874
2 |  | Transfer Function and Characteristic of potentiometer |  | csmss/Engg./EE/CSE/Pot/2015/00249/02875
3 |  | Transfer Function of armature D.C. Servo Motor |  | csmss/Engg./EE/CSE/D.C.Servo/2015/00249/02876
4 |  | Time Response of Second order Stystem |  | csmss/Engg./EE/CSE/S.O.S./2015/00249/02877
5 |  | Characteristics of Synchros |  | csmss/Engg./EE/CSE/Syn/2015/00249/02878
6 |  | Wattmeter (230v/440v) (5 to 10 Amp) -V.P.F. Type |  | csmss/Engg./EE/CSE/Wattmeter/2015/00249/02879
VERIFY BY |  | LAB INCHARGE | HOD |  |  |  |  | PRINCIPAL
|  |  | Prof.A.N.Mudiraj |  |  |  |  | Dr.U.B.Shinde

## summery work
Sr.No | Name of Laboratory | Accession Number | Item Code
1 | Industrial Automation Lab | Present | Present
2 | Electrical Machine Lab | Not Present | Present
3 | Microcontroller Lab | Present | Not Present
4 | Electrical Drives Lab | Not Present | Present
5 | Power Electronics Lab | Not Present | Present
6 | Electrical Engineering Material | Not Present | Present
7 | Renewable Energy Lab | Not Present | Present
8 | Power System Lab | Not Present | Present
9 | Switchgear and Protection Lab | Not Present | Present
10 | Electrical Measurment Lab | Not Present | Present
11 | Network Analysis Lab | Not Present | Not Present
12 | Testing and Maintenance Electrical Equipments | Present | Present
13 | Control System Lab | Not Present | Present